## Sheet1
Sample Name | SOP Name | Operator name | Measurement date and time | Analysis date and time | Particle name | Particle refractive index | Particle absorption index | Dispersant name | Dispersant refractive index | Accessory name | Analysis model | Start result channel size | Last result channel size | Result emulation | Obscuration | Residual | Concentration | Span | Result transform type | D [4, 3] - Volume weighted mean | Uniformity | Specific surface area | D [3, 2] - Surface weighted mean | d (0.1) | d (0.5) | d (0.9) | Result Between User Sizes (Sizes in um) | [100 empty] | Operator Notes
[27 empty] | 0.01 | 0.011482 | 0.013183 | 0.015136 | 0.017378 | 0.019953 | 0.022909 | 0.026303 | 0.0302 | 0.034674 | 0.039811 | 0.045709 | 0.052481 | 0.060256 | 0.069183 | 0.079433 | 0.091201 | 0.10471 | 0.12023 | 0.13804 | 0.15849 | 0.18197 | 0.20893 | 0.23988 | 0.27542 | 0.31623 | 0.36308 | 0.41687 | 0.47863 | 0.54954 | 0.63096 | 0.72444 | 0.83176 | 0.95499 | 1.0965 | 1.2589 | 1.4454 | 1.6596 | 1.9055 | 2.1878 | 2.5119 | 2.884 | 3.3113 | 3.8019 | 4.3652 | 5.0119 | 5.7544 | 6.6069 | 7.5858 | 8.7096 | 10 | 11.4815 | 13.1826 | 15.1356 | 17.378 | 19.9526 | 22.9087 | 26.3027 | 30.1995 | 34.6737 | 39.8107 | 45.7088 | 52.4807 | 60.256 | 69.1831 | 79.4328 | 91.2011 | 104.7129 | 120.2264 | 138.0384 | 158.4893 | 181.9701 | 208.9296 | 239.8833 | 275.4229 | 316.2278 | 363.0781 | 416.8694 | 478.6301 | 549.5409 | 630.9573 | 724.436 | 831.7638 | 954.9926 | 1096.4782 | 1258.9254 | 1445.4398 | 1659.5869 | 1905.4607 | 2187.7616 | 2511.8864 | 2884.0315 | 3311.3112 | 3801.894 | 4365.1583 | 5011.8723 | 5754.3994 | 6606.9345 | 7585.7757 | 8709.6359 | 10000
S1 - Average |  | prehr | 2014-12-04 12:26 | 2014-12-04 12:26 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose (spherical) | 0.1 | 2000 | Off | 13.07 | 0.382 | 0.0483 | 1.263 | Volume | 57.297 | 0.55 | 0.253 | 23.758 | 25.528 | 45.776 | 83.366 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13229 | 0.42522 | 0.47077 | 0.44762 | 0.33782 | 0.2131 | 0.09705 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.29656 | 1.2688 | 2.767 | 4.7657 | 7.0048 | 9.155 | 10.8144 | 11.6779 | 11.5962 | 10.624 | 8.976 | 6.977 | 4.9239 | 3.1113 | 1.6794 | 0.72404 | 0.16394 | 0 | 0 | 0 | 0 | 0.052286 | 0.10895 | 0.13672 | 0.14799 | 0.15207 | 0.15478 | 0.15826 | 0.15846 | 0.15252 | 0.12814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S2 - Average |  | prehr | 2014-12-04 12:43 | 2014-12-04 12:43 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose (spherical) | 0.1 | 2000 | Off | 17.5 | 0.525 | 0.0859 | 1.125 | Volume | 65.73 | 0.355 | 0.196 | 30.674 | 34.407 | 62.015 | 104.196 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10733 | 0.34043 | 0.36931 | 0.34726 | 0.26174 | 0.17075 | 0.085374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.061963 | 0.45192 | 1.2723 | 2.5466 | 4.2832 | 6.3438 | 8.5048 | 10.4506 | 11.837 | 12.3726 | 11.8839 | 10.3873 | 8.1713 | 5.5855 | 3.2726 | 0.89239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
S3 - Average |  | prehr | 2014-12-04 12:54 | 2014-12-04 12:54 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose (spherical) | 0.1 | 2000 | Off | 11.93 | 0.551 | 0.0598 | 1.201 | Volume | 68.782 | 0.375 | 0.184 | 32.606 | 34.274 | 64.341 | 111.534 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08192 | 0.27162 | 0.3178 | 0.32088 | 0.26314 | 0.19023 | 0.1073 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10043 | 0.57616 | 1.417 | 2.612 | 4.158 | 5.9441 | 7.8111 | 9.5332 | 10.8546 | 11.5412 | 11.4183 | 10.4398 | 8.7522 | 6.587 | 4.3944 | 2.0723 | 0.23551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s4 - Average |  | prehr | 2014-12-15 11:22 | 2014-12-15 11:22 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 15.32 | 0.44 | 0.0656 | 1.157 | Volume | 63.71 | 0.366 | 0.249 | 24.092 | 32.905 | 59.792 | 102.103 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12274 | 0.20038 | 0.25996 | 0.28253 | 0.28287 | 0.25956 | 0.22155 | 0.17539 | 0.12797 | 0.084377 | 0.046419 | 0.001039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.086293 | 0.57465 | 1.5394 | 2.9719 | 4.8374 | 6.9444 | 9.0304 | 10.7713 | 11.8573 | 12.0653 | 11.309 | 9.6665 | 7.4627 | 4.9849 | 2.9464 | 0.8874 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s5 - Average |  | prehr | 2014-12-15 11:29 | 2014-12-15 11:29 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 16.34 | 0.267 | 0.0585 | 1.134 | Volume | 52.805 | 0.357 | 0.301 | 19.938 | 27.982 | 49.596 | 84.23 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15296 | 0.24969 | 0.32396 | 0.35191 | 0.35162 | 0.32089 | 0.27091 | 0.20949 | 0.14738 | 0.089435 | 0.035054 | 0.000634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.015791 | 0.49107 | 1.59 | 3.2637 | 5.4105 | 7.7837 | 9.9934 | 11.6441 | 12.408 | 12.1302 | 10.8619 | 8.8617 | 6.4715 | 4.1568 | 2.0533 | 0.36056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s6 - Average |  | prehr | 2014-12-15 11:34 | 2014-12-15 11:35 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 12.83 | 0.666 | 0.0685 | 0.906 | Volume | 49.143 | 0.287 | 0.204 | 29.392 | 29.927 | 46.885 | 72.385 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.058543 | 0.10495 | 0.1312 | 0.14533 | 0.14464 | 0.13212 | 0.11123 | 0.084983 | 0.058974 | 0.031786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12939 | 0.95229 | 2.7728 | 5.6101 | 9.1501 | 12.5827 | 14.9366 | 15.432 | 13.8863 | 10.8048 | 7.1422 | 3.9379 | 1.5132 | 0.14574 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s7 - Average |  | prehr | 2014-12-15 11:39 | 2014-12-15 11:39 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 16.34 | 1.051 | 0.0976 | 0.799 | Volume | 43.086 | 0.247 | 0.152 | 39.419 | 27.841 | 41.333 | 60.856 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.017059 | 0.36596 | 1.8604 | 4.6916 | 8.7576 | 13.1484 | 16.4238 | 17.31 | 15.3866 | 11.4063 | 6.8249 | 3.1359 | 0.67139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s8 - Average |  | prehr | 2014-12-15 11:46 | 2014-12-15 11:46 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 14.73 | 1.236 | 0.0662 | 0.788 | Volume | 32.748 | 0.242 | 0.2 | 30.041 | 21.339 | 31.411 | 46.085 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26401 | 1.6286 | 4.4886 | 8.6688 | 13.2522 | 16.6574 | 17.5547 | 15.5365 | 11.426 | 6.7939 | 3.0808 | 0.64871 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s9 - Average |  | prehr | 2014-12-15 11:51 | 2014-12-15 11:51 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 18.71 | 0.507 | 0.056 | 0.781 | Volume | 40.189 | 0.263 | 0.368 | 16.31 | 26.249 | 39.413 | 57.039 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.18545 | 0.33707 | 0.40339 | 0.44718 | 0.4395 | 0.39677 | 0.32719 | 0.24218 | 0.15946 | 0.080252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03541 | 0.35665 | 2.1237 | 4.5713 | 9.5999 | 14.1571 | 17.4532 | 17.5728 | 14.4976 | 9.7535 | 4.7155 | 1.9683 | 0.17652 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s10 - Average |  | prehr | 2014-12-15 11:56 | 2014-12-15 11:56 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 16.67 | 1.121 | 0.0923 | 0.73 | Volume | 39.351 | 0.23 | 0.165 | 36.471 | 26.455 | 37.938 | 54.139 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071346 | 0.58162 | 2.5977 | 6.3719 | 11.5638 | 16.4989 | 18.9864 | 17.7398 | 13.3356 | 7.8647 | 3.403 | 0.93932 | 0.046034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s11 - Average |  | prehr | 2014-12-15 12:00 | 2014-12-15 12:00 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 13.3 | 1.052 | 0.0522 | 0.712 | Volume | 32.674 | 0.227 | 0.27 | 22.24 | 22.238 | 31.792 | 44.889 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020303 | 0.075446 | 0.11456 | 0.14604 | 0.15558 | 0.15089 | 0.13136 | 0.10297 | 0.070433 | 0.0415 | 0.018842 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.056734 | 0.73923 | 2.9624 | 7.2122 | 12.8838 | 17.8096 | 19.5744 | 17.1435 | 11.804 | 6.1776 | 2.3094 | 0.28346 | 0.01564 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s12 - Average |  | prehr | 2014-12-15 12:14 | 2014-12-15 12:14 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 9.34 | 0.422 | 0.0145 | 0.778 | Volume | 21.794 | 0.273 | 0.671 | 8.947 | 14.057 | 22.001 | 31.17 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.14961 | 0.37444 | 0.57957 | 0.67667 | 0.70541 | 0.65375 | 0.54877 | 0.42214 | 0.30935 | 0.2438 | 0.24204 | 0.29977 | 0.39051 | 0.47138 | 0.48998 | 0.41612 | 0.19105 | 0.016264 | 0 | 0 | 0 | 0.000981 | 0.000891 | 0.17702 | 1.399 | 4.0245 | 9.2951 | 14.9127 | 18.6213 | 18.0399 | 13.9394 | 7.6867 | 3.7077 | 0.94451 | 0.069642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s13 - Average |  | prehr | 2014-12-15 12:57 | 2014-12-15 12:57 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 11.85 | 1.263 | 0.0492 | 0.716 | Volume | 30.339 | 0.227 | 0.213 | 28.213 | 20.605 | 29.257 | 41.563 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33888 | 1.9839 | 5.6429 | 10.9567 | 16.3058 | 19.2573 | 18.3262 | 13.9945 | 8.3813 | 3.7301 | 1.0586 | 0.023725 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s14 - Average |  | prehr | 2014-12-15 13:10 | 2014-12-15 13:10 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 13.07 | 1.427 | 0.0474 | 0.715 | Volume | 26.367 | 0.226 | 0.245 | 24.523 | 17.923 | 25.422 | 36.109 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33754 | 2.018 | 5.6766 | 11.0841 | 16.4011 | 19.3084 | 18.2867 | 13.883 | 8.2746 | 3.6691 | 1.0347 | 0.026172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s15 - Average |  | prehr | 2014-12-15 13:16 | 2014-12-15 13:16 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 8.25 | 0.492 | 0.012 | 0.797 | Volume | 20.54 | 0.277 | 0.709 | 8.464 | 12.972 | 20.781 | 29.528 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1585 | 0.3984 | 0.61515 | 0.71495 | 0.74169 | 0.68433 | 0.57363 | 0.4447 | 0.33544 | 0.27927 | 0.28969 | 0.35633 | 0.44591 | 0.51128 | 0.49864 | 0.39065 | 0.091008 | 0 | 0 | 0 | 0 | 0.00162 | 0.026138 | 0.44654 | 2.3506 | 5.7524 | 11.6457 | 16.716 | 18.8868 | 16.58 | 11.5653 | 5.6786 | 2.4234 | 0.39733 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s16 |  | Not enough sample
s17 - Average |  | prehr | 2014-12-15 13:25 | 2014-12-15 13:25 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 10.97 | 1.583 | 0.0356 | 0.772 | Volume | 24.161 | 0.237 | 0.27 | 22.243 | 15.917 | 23.17 | 33.81 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.26081 | 1.7808 | 5.0323 | 9.607 | 14.359 | 17.4717 | 17.6941 | 14.9425 | 10.3794 | 5.7668 | 2.3351 | 0.37052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s18 - Average |  | prehr | 2014-12-15 13:30 | 2014-12-15 13:30 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 8.17 | 0.476 | 0.0115 | 0.796 | Volume | 19.924 | 0.273 | 0.728 | 8.241 | 12.527 | 20.22 | 28.613 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15703 | 0.40384 | 0.62748 | 0.73111 | 0.76022 | 0.70334 | 0.59223 | 0.46289 | 0.35427 | 0.30035 | 0.31433 | 0.38433 | 0.47478 | 0.53623 | 0.51489 | 0.39193 | 0.08937 | 0 | 0 | 0 | 0 | 0.002001 | 0.049762 | 0.60309 | 2.8332 | 6.5873 | 12.743 | 17.543 | 18.9907 | 15.8605 | 10.3778 | 4.6336 | 1.7477 | 0.2298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s19 - Average |  | prehr | 2014-12-15 13:35 | 2014-12-15 13:35 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 4.99 | 0.576 | 0.006 | 1.594 | Volume | 19.288 | 0.499 | 0.799 | 7.505 | 6.768 | 17.376 | 34.472 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.063935 | 0.30804 | 0.54908 | 0.68426 | 0.75845 | 0.75341 | 0.69752 | 0.6204 | 0.55595 | 0.52962 | 0.54546 | 0.58402 | 0.6108 | 0.5916 | 0.50689 | 0.3635 | 0.20728 | 0.11817 | 0.20371 | 0.581 | 1.3335 | 2.518 | 4.0534 | 5.8341 | 7.5635 | 9.0048 | 9.8664 | 10.0235 | 9.4785 | 8.369 | 6.9314 | 5.3835 | 3.9241 | 2.669 | 1.6745 | 0.94413 | 0.47291 | 0.10867 | 0.014047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
s20 |  | Not enough sample
r1 - Average |  | prehr | 2014-12-15 14:46 | 2014-12-15 14:46 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 16.36 | 1.067 | 0.0974 | 0.803 | Volume | 42.967 | 0.249 | 0.153 | 39.272 | 27.686 | 41.22 | 60.769 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032116 | 0.41731 | 1.9676 | 4.8127 | 8.8526 | 13.1759 | 16.3761 | 17.2146 | 15.2856 | 11.3279 | 6.7741 | 3.1058 | 0.65762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
r2 - Average |  | prehr | 2014-12-15 14:51 | 2014-12-15 14:51 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 11.67 | 0.389 | 0.0391 | 1.165 | Volume | 49.82 | 0.372 | 0.313 | 19.193 | 26.318 | 46.22 | 80.179 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15548 | 0.25804 | 0.33771 | 0.3666 | 0.36504 | 0.33039 | 0.27542 | 0.2075 | 0.14219 | 0.076699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.096184 | 0.82684 | 2.2601 | 4.2783 | 6.673 | 9.0876 | 11.0602 | 12.2017 | 12.2865 | 11.334 | 9.5766 | 7.3909 | 5.1483 | 3.1399 | 1.7133 | 0.41151 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
r3 - Average |  | prehr | 2014-12-15 15:03 | 2014-12-15 15:03 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 13.29 | 0.66 | 0.0606 | 1.119 | Volume | 66.903 | 0.353 | 0.227 | 26.43 | 35.053 | 63.269 | 105.836 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.095377 | 0.16023 | 0.21528 | 0.24191 | 0.25064 | 0.23868 | 0.21226 | 0.17689 | 0.13792 | 0.10092 | 0.065527 | 0.001565 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.059601 | 0.39695 | 1.1084 | 2.2598 | 3.8896 | 5.9047 | 8.1123 | 10.1989 | 11.784 | 12.5149 | 12.1588 | 10.7075 | 8.4692 | 5.8184 | 3.4832 | 1.1665 | 0.070205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
r4 - Average |  | prehr | 2014-12-15 14:55 | 2014-12-15 14:55 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 15.54 | 1.19 | 0.1492 | 1.077 | Volume | 73.905 | 0.333 | 0.0949 | 63.236 | 40.221 | 69.274 | 114.815 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.044721 | 0.4843 | 1.4072 | 2.8483 | 4.7748 | 7.038 | 9.3523 | 11.3337 | 12.5948 | 12.8249 | 11.9201 | 10.0547 | 7.5344 | 4.9667 | 2.4275 | 0.3937 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
r5 - Average |  | prehr | 2014-12-15 15:12 | 2014-12-15 15:12 | Glass-soda lime | 1.513 | 0.1 | Water | 1.33 | Hydro 2000SM (A) | General purpose | 0.1 | 2000 | Off | 8.13 | 0.782 | 0.0909 | 0.644 | Volume | 81.241 | 0.201 | 0.0784 | 76.507 | 57.425 | 78.881 | 108.219 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.060628 | 0.90263 | 3.7427 | 9.2807 | 16.1697 | 20.9433 | 20.676 | 15.5656 | 8.6378 | 3.3608 | 0.65183 | 0.008251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0